IECC Site Residential Inspection Report

By

Terry F. Brewer & Associates ( 619 Mercury Ave., Suite 108  (  Duncanville, Texas 75137

t@tfba.com  (  www.tfba.com  (  (972) 298-3525  (  Fax (972) 298-3521

Address ________________________________________ City__________________Texas   (   Job # IECC 200__-_____

Under Floor Inspection         	Date______________ Approved      Disapproved      Initials _________

Violations

Table 504.5 Insulate Hot Water piping under floor___	_________________________________________

Air Tightness Inspection         Date_____________      	 Approved      Disapproved  Initials _____

Violations					      Violations

502.1.4.2 Seal Base plate__________________________	 502.1.4.2 Seal Wiring penetration_________________________

_______________________________________________	 Table 504.5 ½” Insulate on All Hot water piping ______________

504.7 Provide heat trap on water heater_______________	 Table 503.3.3.3 Provide R-8 duct insulation _________________

503.3.3.4.3 Provide UL-181 duct sealing ______________	 Table 503.3.3.3 Provide R-8 duct insulation on return duct _____

102.5.3 Support ducts at 10’ O.C. Max ________________	 Report: Windows wrong U-value__________________________

Report: Windows wrong SHGC_____________________	 502.1.4.2 Door wrong U-value ___________________________

Report: Door wrong SHGC_________________________	 502.1.4.2 Tape joints of vapor barrier______________________

502.1.4.2 Seal around door frame____________________	 502.1.4.2 Seal around Window frames_____________________

502.1.4.2Tape around penetrations of outside vapor barrier 	 502.1.3 2. Light fixture not listed air tight____________________

502.1.3 2. Light fixture not UL for contact with Insulation	 Report: Window U=____SHGC____Installed U=____SHGC____   181 seal a/c duct to boot, takeoff or plenum ____________	 Report: Window U=____SHGC____Installed U=____SHGC____

502.1.4.2 Fill alarm wire hole in top plate_______________	 Report: Window U=____SHGC____Installed U=____SHGC____   502.1.4.2 Fill wire hole in top plate at__________________	 Report: Window U=____SHGC____Installed U=____SHGC____

_______________________________________________	 ____________________________________________________

_______________________________________________	 ____________________________________________________

Insulation Inspection Date___________ Approved  Disapproved Signed ______________________

Violations					      Violations

Report: Wall wrong R- value, Provide R=______________	 Report: Cat. Ceiling R=______Installed R=_________________

Report: Knee Walls not insulated, Provide R=__________	 Report: Ceiling R=______Installed R=_____________________

Report: Wall R=________Installed R=________________	 Report: Ceiling at deck R=______Installed R=_______________

Report: Floor R=______Installed R=_________________  	 Report: Floor R=______Installed R=_______________________

Report: Knee Wall R=______Installed R=______________	 Attic Insulation to be reviewed on final inspection _____________

Report: Ceiling wrong R- value, Provide R=____________	 ____________________________________________________

_______________________________________________	 ____________________________________________________

_______________________________________________	 __________________________________________________

Interior Membrane (i.e. Gypsum Board) Inspection Date__________  Approved  Disapproved

Violations					      Violations					  Initials _______

______________________________________________	 502.1.4.2 Remove light fixture for sealant inspection___________

502.1.4.2 Seal around electrical outlets______________	 502.1.4.2 Seal around light fixture j-box_____________________

______________________________________________	 502.1.4.2 Remove electrical cover plates for sealant  inspection

______________________________________________	 ____________________________________________________

Final Inspection Date___________  Approved    Disapproved    Signed ________________________

Violations					      Violations

102.3 Provide A/C Manuals_________________________	 502.1.4.2 Provide hot water heater manuals_________________

Report: Ceiling wrong R- value______________________	 502.1.4.2 Provide sweep strip on exterior doors______________

Report: Knee Walls not insulated____________________	 502.1.4.2 Provide weather-stripping on doors________________

502.1.4.2 Provide Weather-stripping on attic access______	 504.3.3 Pool pump time clock required _____________________

504.3.2 Pool Cover required _______________________	 Report: Attic Insulation Ceiling R=____Installed R=___________

504.3.1 Pool heater on/off switch required _____________	 Blow-In Attic Insulation  Thickness________ Bags____________

502.1.4.2 Provide weather-stripping on attic ladder door___	 102.5.1.1 Blow-in Certificate not found _____________________

A/C unit must be SEER-12__________________________  Attic certificates, need, bags, thickness, & settled thickness ____

_______________________________________________	 102.5.1.1 Blow-in need depth markers _____________________

_______________________________________________	 ____________________________________________________

Comments

Do not cover any work without approval form the City	 If R-6 duct work was used in attic a/c unit must be SEER-12

_______________________________________________	 ____________________________________________________

_______________________________________________	 ____________________________________________________

_______________________________________________	 ____________________________________________________

Inspected by Terry F. Brewer  ICC Residential Energy Plan Examiner/Inspector N0. 5116886-79

(Red paper indicates corrections needed; Green paper indicates marked area, has no violations seen; Yellow paper indicates corrections needed, proceed to next  step with caution, do not close noted items until reviewed)